## Data-1
Condition-1 |  |  |  | Cu foil thickness | Counts
Distance between X-ray tube and sample holder: 2.5cm |  |  |  | (um) | at 7.5KeV
Distance between Minipix and sample holder: 8.5cm |  |  |  | 10 | 38635
Acquisition time of each frame: 0.1 sec |  |  |  | 20 | 25125
Total time of measurement: 300sec |  |  |  | 30 | 16457
Resolution: 2.5KeV |  |  |  | 40 | 11126
Voltage and current of X-ray tube: 10KV & 5um |  |  |  | 50 | 7117
|  |  |  | 60 | 4649
|  |  |  | 70 | 3311
|  |  |  | 80 | 2307
| Iteration | Counts at 7.5KeV for 100nm
| 1 | 57834
| 2 | 58143
| 3 | 57258 | Thickness in um | Counts |  | I / Io | % of attenuation | Thickness in um | Counts |  | I / Io | % of attenuation
| AVERAGE | 57745 | 0 | 56222 |  |  |  | 0 | 56222
| Std DEVIATION | 366.7397 | 0.05 | 56106.863 |  | 0.99795 | 0.20479 | 0.005 | 56210.4757 | 11.5243 | 0.9998 | 0.020498
|  |  | 0.1 | 55991.9617 |  | 0.99591 | 0.40916 | 0.01 | 56198.9537 | 11.522 | 0.99959 | 0.040992
|  |  | 0.15 | 55877.2958 |  | 0.99387 | 0.61311 | 0.015 | 56187.4341 | 11.5196 | 0.99939 | 0.061481
|  |  | 0.2 | 55762.8646 |  | 0.99183 | 0.81665 | 0.02 | 56175.9169 | 11.5172 | 0.99918 | 0.081966
|  |  | 0.25 | 55648.6678 |  | 0.9898 | 1.0198 | 0.025 | 56164.402 | 11.5149 | 0.99898 | 0.10245
|  |  | 0.3 | 55534.7049 |  | 0.98778 | 1.2225 | 0.03 | 56152.8895 | 11.5125 | 0.99877 | 0.12292
|  |  | 0.35 | 55420.9754 |  | 0.98575 | 1.4248 | 0.035 | 56141.3793 | 11.5102 | 0.99857 | 0.1434
|  |  | 0.4 | 55307.4788 |  | 0.98373 | 1.6266 | 0.04 | 56129.8715 | 11.5078 | 0.99836 | 0.16387
|  |  | 0.45 | 55194.2146 |  | 0.98172 | 1.8281 | 0.045 | 56118.366 | 11.5054 | 0.99816 | 0.18433
|  |  | 0.5 | 55081.1823 |  | 0.97971 | 2.0291 | 0.05 | 56106.863 | 11.5031 | 0.99795 | 0.20479
|  |  | 0.55 | 54968.3816 |  | 0.9777 | 2.2298 | 0.055 | 56095.3622 | 11.5007 | 0.99775 | 0.22525
|  |  | 0.6 | 54855.8118 |  | 0.9757 | 2.43 | 0.06 | 56083.8639 | 11.4984 | 0.99754 | 0.2457
|  |  | 0.65 | 54743.4726 |  | 0.9737 | 2.6298 | 0.065 | 56072.3678 | 11.496 | 0.99734 | 0.26615
|  |  | 0.7 | 54631.3634 |  | 0.97171 | 2.8292 | 0.07 | 56060.8742 | 11.4937 | 0.99713 | 0.28659
|  |  | 0.75 | 54519.4838 |  | 0.96972 | 3.0282 | 0.075 | 56049.3829 | 11.4913 | 0.99693 | 0.30703
|  |  | 0.8 | 54407.8334 |  | 0.96773 | 3.2268 | 0.08 | 56037.8939 | 11.4889 | 0.99673 | 0.32746
|  |  | 0.85 | 54296.4116 |  | 0.96575 | 3.425 | 0.085 | 56026.4073 | 11.4866 | 0.99652 | 0.34789
|  |  | 0.9 | 54185.2179 |  | 0.96377 | 3.6227 | 0.09 | 56014.9231 | 11.4842 | 0.99632 | 0.36832
|  |  | 0.95 | 54074.252 |  | 0.9618 | 3.8201 | 0.095 | 56003.4412 | 11.4819 | 0.99611 | 0.38874
|  |  | 1 | 53963.5133 |  | 0.95983 | 4.0171 | 0.1 | 55991.9617 | 11.4795 | 0.99591 | 0.40916
Condition-2 |  |  | 1.05 | 53853.0015 |  | 0.95786 | 4.2137
Distance between X-ray tube and sample holder: ABC cm |  |  | 1.1 | 53742.7159 |  | 0.9559 | 4.4098
Distance between Minipix and sample holder: ABC cm |  |  | 1.15 | 53632.6562 |  | 0.95394 | 4.6056
Acquisition time of each frame: 0.001 sec |  |  | 1.2 | 53522.8218 |  | 0.95199 | 4.8009
Total time of measurement: 120sec |  |  | 1.25 | 53413.2124 |  | 0.95004 | 4.9959
Resolution: 2.5KeV |  |  | 1.3 | 53303.8275 |  | 0.9481 | 5.1904
Voltage and current of X-ray tube: 10KV & 200um |  |  | 1.35 | 53194.6666 |  | 0.94615 | 5.3846
|  |  | 1.4 | 53085.7292 |  | 0.94422 | 5.5784
|  |  | 1.45 | 52977.015 |  | 0.94228 | 5.7717
| Iteration | Counts at 7.5KeV for 400nm | 1.5 | 52868.5233 |  | 0.94035 | 5.9647
| 1 | 19851 | 1.55 | 52760.2539 |  | 0.93843 | 6.1573
| 2 | 19958 | 1.6 | 52652.2061 |  | 0.93651 | 6.3495
| 3 | 19846 | 1.65 | 52544.3797 |  | 0.93459 | 6.5412
| 4 | 19795 | 1.7 | 52436.774 |  | 0.93267 | 6.7326
| 5 | 19588 | 1.75 | 52329.3887 |  | 0.93076 | 6.9236
| AVERAGE | 19807.6 | 1.8 | 52222.2234 |  | 0.92886 | 7.1143
| Std. DEVIATION | 121.9518 | 1.85 | 52115.2775 |  | 0.92696 | 7.3045
|  |  | 1.9 | 52008.5506 |  | 0.92506 | 7.4943
|  |  | 1.95 | 51902.0423 |  | 0.92316 | 7.6837
|  |  | 2 | 51795.7521 |  | 0.92127 | 7.8728
Condition-3 |  |  | 2.05 | 51689.6795 |  | 0.91939 | 8.0615
Distance between X-ray tube and sample holder: ABC cm |  |  | 2.1 | 51583.8242 |  | 0.9175 | 8.2498
Distance between Minipix and sample holder: ABC cm |  |  | 2.15 | 51478.1857 |  | 0.91562 | 8.4376
Acquisition time of each frame: 0.02 sec |  |  | 2.2 | 51372.7635 |  | 0.91375 | 8.6252
Total time of measurement: 120sec |  |  | 2.25 | 51267.5572 |  | 0.91188 | 8.8123
Resolution: 2.5KeV |  |  | 2.3 | 51162.5664 |  | 0.91001 | 8.999
Voltage and current of X-ray tube: 10KV & 200um |  |  | 2.35 | 51057.7906 |  | 0.90815 | 9.1854
|  |  | 2.4 | 50953.2293 |  | 0.90629 | 9.3714
|  |  | 2.45 | 50848.8822 |  | 0.90443 | 9.557
|  |  | 2.5 | 50744.7487 |  | 0.90258 | 9.7422
|  |  | 2.55 | 50640.8286 |  | 0.90073 | 9.927
Condition-4 |  |  | 2.6 | 50537.1212 |  | 0.89889 | 10.1115
Distance between X-ray tube and sample holder: ABC cm |  |  | 2.65 | 50433.6262 |  | 0.89704 | 10.2956
Distance between Minipix and sample holder: ABC cm |  |  | 2.7 | 50330.3432 |  | 0.89521 | 10.4793
Acquisition time of each frame: 0.01 |  |  | 2.75 | 50227.2717 |  | 0.89337 | 10.6626
Total time of measurement: 120sec |  |  | 2.8 | 50124.4112 |  | 0.89154 | 10.8456
Resolution: 2.5KeV |  |  | 2.85 | 50021.7614 |  | 0.88972 | 11.0281
Voltage and current of X-ray tube: 10KV & 5uA |  |  | 2.9 | 49919.3219 |  | 0.8879 | 11.2103
With XRF Correction |  |  | 2.95 | 49817.0921 |  | 0.88608 | 11.3922
|  |  | 3 | 49715.0716 |  | 0.88426 | 11.5736
|  |  | 3.05 | 49613.2601 |  | 0.88245 | 11.7547
|  |  | 3.1 | 49511.6571 |  | 0.88065 | 11.9354
|  |  | 3.15 | 49410.2622 |  | 0.87884 | 12.1158
|  |  | 3.2 | 49309.0749 |  | 0.87704 | 12.2958
|  |  | 3.25 | 49208.0948 |  | 0.87525 | 12.4754
|  |  | 3.3 | 49107.3216 |  | 0.87345 | 12.6546
|  |  | 3.35 | 49006.7547 |  | 0.87167 | 12.8335
|  |  | 3.4 | 48906.3937 |  | 0.86988 | 13.012
|  |  | 3.45 | 48806.2383 |  | 0.8681 | 13.1901
|  |  | 3.5 | 48706.288 |  | 0.86632 | 13.3679
|  |  | 3.55 | 48606.5424 |  | 0.86455 | 13.5453
|  |  | 3.6 | 48507.0011 |  | 0.86278 | 13.7224
|  |  | 3.65 | 48407.6636 |  | 0.86101 | 13.8991
|  |  | 3.7 | 48308.5295 |  | 0.85925 | 14.0754
|  |  | 3.75 | 48209.5985 |  | 0.85749 | 14.2514
|  |  | 3.8 | 48110.87 |  | 0.85573 | 14.427
|  |  | 3.85 | 48012.3438 |  | 0.85398 | 14.6022
|  |  | 3.9 | 47914.0193 |  | 0.85223 | 14.7771
|  |  | 3.95 | 47815.8961 |  | 0.85048 | 14.9516
|  |  | 4 | 47717.974 |  | 0.84874 | 15.1258
|  |  | 4.05 | 47620.2523 |  | 0.847 | 15.2996
|  |  | 4.1 | 47522.7308 |  | 0.84527 | 15.4731
|  |  | 4.15 | 47425.409 |  | 0.84354 | 15.6462
|  |  | 4.2 | 47328.2865 |  | 0.84181 | 15.8189
|  |  | 4.25 | 47231.3629 |  | 0.84009 | 15.9913
|  |  | 4.3 | 47134.6377 |  | 0.83837 | 16.1634
|  |  | 4.35 | 47038.1107 |  | 0.83665 | 16.335
Condition-5 |  |  | 4.4 | 46941.7814 |  | 0.83494 | 16.5064
Distance between X-ray tube and sample holder: ABC cm |  |  | 4.45 | 46845.6493 |  | 0.83323 | 16.6774
Distance between Minipix and sample holder: ABC cm |  |  | 4.5 | 46749.7141 |  | 0.83152 | 16.848
Acquisition time of each frame: 0.01 |  |  | 4.55 | 46653.9753 |  | 0.82982 | 17.0183
Total time of measurement: 300sec |  |  | 4.6 | 46558.4326 |  | 0.82812 | 17.1882
Resolution: 2.5KeV |  |  | 4.65 | 46463.0856 |  | 0.82642 | 17.3578
Voltage and current of X-ray tube: 10KV & 5uA |  |  | 4.7 | 46367.9338 |  | 0.82473 | 17.5271
With XRF Correction |  |  | 4.75 | 46272.9769 |  | 0.82304 | 17.696
|  |  | 4.8 | 46178.2145 |  | 0.82135 | 17.8645
|  |  | 4.85 | 46083.6461 |  | 0.81967 | 18.0327
|  |  | 4.9 | 45989.2714 |  | 0.81799 | 18.2006
|  |  | 4.95 | 45895.09 |  | 0.81632 | 18.3681
|  |  | 5 | 45801.1014 |  | 0.81465 | 18.5353
Condition-5
Distance between X-ray tube and sample holder: ABC cm
Distance between Minipix and sample holder: ABC cm
Acquisition time of each frame: 0.01
Total time of measurement: 600s
Resolution: 2.5KeV
Voltage and current of X-ray tube: 10KV & 5uA

## Data-2
Condition-1 |  |  |  | Cu foil thickness | Counts
Distance between X-ray tube and sample holder: 2.5cm |  |  |  | (um) | at 7.5KeV
Distance between Minipix and sample holder: 8.5cm |  |  |  | 10 | 38635 |  | 0.68719
Acquisition time of each frame: 0.1 sec |  |  |  | 20 | 25125 |  | 0.44689
Total time of measurement: 300sec |  |  |  | 30 | 16457 |  | 0.29271
Resolution: 2.5KeV |  |  |  | 40 | 11126 |  | 0.19789
Voltage and current of X-ray tube: 10KV & 5um |  |  |  | 50 | 7117 |  | 0.12659
|  |  |  | 60 | 4649 |  | 0.08269
|  |  |  | 70 | 3311 |  | 0.058892
|  |  |  | 80 | 2307
| Iteration | Counts at 7.5KeV for 100nm
| 1 | 57834
| 2 | 58143
| 3 | 57258 | Thickness in um | Counts |  | I / Io | % of attenuation | Thickness in um | Counts |  | I / Io | % of attenuation
| AVERAGE | 57745 | 0 | 156222 |  |  |  | 0 | 10056222
| Std DEVIATION | 366.7397 | 0.05 | 155902.0729 |  | 0.99795 | 0.20479 | 0.005 | 10054160.6858 | 2061.3142 | 0.9998 | 0.020498
|  |  | 0.1 | 155582.8011 |  | 0.99591 | 0.40916 | 0.01 | 10052099.7941 | 2060.8917 | 0.99959 | 0.040992
|  |  | 0.15 | 155264.183 |  | 0.99387 | 0.61311 | 0.015 | 10050039.3248 | 2060.4693 | 0.99939 | 0.061481
|  |  | 0.2 | 154946.2175 |  | 0.99183 | 0.81665 | 0.02 | 10047979.2779 | 2060.0469 | 0.99918 | 0.081966
|  |  | 0.25 | 154628.9031 |  | 0.9898 | 1.0198 | 0.025 | 10045919.6533 | 2059.6246 | 0.99898 | 0.10245
|  |  | 0.3 | 154312.2385 |  | 0.98778 | 1.2225 | 0.03 | 10043860.4509 | 2059.2025 | 0.99877 | 0.12292
|  |  | 0.35 | 153996.2224 |  | 0.98575 | 1.4248 | 0.035 | 10041801.6705 | 2058.7804 | 0.99857 | 0.1434
|  |  | 0.4 | 153680.8536 |  | 0.98373 | 1.6266 | 0.04 | 10039743.3121 | 2058.3584 | 0.99836 | 0.16387
|  |  | 0.45 | 153366.1305 |  | 0.98172 | 1.8281 | 0.045 | 10037685.3757 | 2057.9364 | 0.99816 | 0.18433
|  |  | 0.5 | 153052.052 |  | 0.97971 | 2.0291 | 0.05 | 10035627.8611 | 2057.5146 | 0.99795 | 0.20479
|  |  | 0.55 | 152738.6167 |  | 0.9777 | 2.2298 | 0.055 | 10033570.7683 | 2057.0929 | 0.99775 | 0.22525
|  |  | 0.6 | 152425.8232 |  | 0.9757 | 2.43 | 0.06 | 10031514.0971 | 2056.6712 | 0.99754 | 0.2457
|  |  | 0.65 | 152113.6703 |  | 0.9737 | 2.6298 | 0.065 | 10029457.8474 | 2056.2496 | 0.99734 | 0.26615
|  |  | 0.7 | 151802.1567 |  | 0.97171 | 2.8292 | 0.07 | 10027402.0193 | 2055.8281 | 0.99713 | 0.28659
|  |  | 0.75 | 151491.2811 |  | 0.96972 | 3.0282 | 0.075 | 10025346.6126 | 2055.4067 | 0.99693 | 0.30703
|  |  | 0.8 | 151181.042 |  | 0.96773 | 3.2268 | 0.08 | 10023291.6272 | 2054.9854 | 0.99673 | 0.32746
|  |  | 0.85 | 150871.4384 |  | 0.96575 | 3.425 | 0.085 | 10021237.063 | 2054.5642 | 0.99652 | 0.34789
|  |  | 0.9 | 150562.4687 |  | 0.96377 | 3.6227 | 0.09 | 10019182.92 | 2054.143 | 0.99632 | 0.36832
|  |  | 0.95 | 150254.1318 |  | 0.9618 | 3.8201 | 0.095 | 10017129.198 | 2053.722 | 0.99611 | 0.38874
|  |  | 1 | 149946.4263 |  | 0.95983 | 4.0171 | 0.1 | 10015075.897 | 2053.301 | 0.99591 | 0.40916
Condition-2 |  |  | 1.05 | 149639.351 |  | 0.95786 | 4.2137
Distance between X-ray tube and sample holder: ABC cm |  |  | 1.1 | 149332.9046 |  | 0.9559 | 4.4098
Distance between Minipix and sample holder: ABC cm |  |  | 1.15 | 149027.0857 |  | 0.95394 | 4.6056
Acquisition time of each frame: 0.001 sec |  |  | 1.2 | 148721.8931 |  | 0.95199 | 4.8009
Total time of measurement: 120sec |  |  | 1.25 | 148417.3255 |  | 0.95004 | 4.9959
Resolution: 2.5KeV |  |  | 1.3 | 148113.3816 |  | 0.9481 | 5.1904
Voltage and current of X-ray tube: 10KV & 200um |  |  | 1.35 | 147810.0602 |  | 0.94615 | 5.3846
|  |  | 1.4 | 147507.36 |  | 0.94422 | 5.5784
|  |  | 1.45 | 147205.2796 |  | 0.94228 | 5.7717
| Iteration | Counts at 7.5KeV for 400nm | 1.5 | 146903.8179 |  | 0.94035 | 5.9647
| 1 | 19851 | 1.55 | 146602.9735 |  | 0.93843 | 6.1573
| 2 | 19958 | 1.6 | 146302.7453 |  | 0.93651 | 6.3495
| 3 | 19846 | 1.65 | 146003.1319 |  | 0.93459 | 6.5412
| 4 | 19795 | 1.7 | 145704.132 |  | 0.93267 | 6.7326
| 5 | 19588 | 1.75 | 145405.7445 |  | 0.93076 | 6.9236
| AVERAGE | 19807.6 | 1.8 | 145107.968 |  | 0.92886 | 7.1143
| Std. DEVIATION | 121.9518 | 1.85 | 144810.8014 |  | 0.92696 | 7.3045
|  |  | 1.9 | 144514.2433 |  | 0.92506 | 7.4943
|  |  | 1.95 | 144218.2926 |  | 0.92316 | 7.6837
|  |  | 2 | 143922.9479 |  | 0.92127 | 7.8728
Condition-3 |  |  | 2.05 | 143628.2081 |  | 0.91939 | 8.0615
Distance between X-ray tube and sample holder: ABC cm |  |  | 2.1 | 143334.0719 |  | 0.9175 | 8.2498
Distance between Minipix and sample holder: ABC cm |  |  | 2.15 | 143040.538 |  | 0.91562 | 8.4376
Acquisition time of each frame: 0.02 sec |  |  | 2.2 | 142747.6052 |  | 0.91375 | 8.6252
Total time of measurement: 120sec |  |  | 2.25 | 142455.2724 |  | 0.91188 | 8.8123
Resolution: 2.5KeV |  |  | 2.3 | 142163.5382 |  | 0.91001 | 8.999
Voltage and current of X-ray tube: 10KV & 200um |  |  | 2.35 | 141872.4015 |  | 0.90815 | 9.1854
|  |  | 2.4 | 141581.861 |  | 0.90629 | 9.3714
|  |  | 2.45 | 141291.9155 |  | 0.90443 | 9.557
|  |  | 2.5 | 141002.5637 |  | 0.90258 | 9.7422
|  |  | 2.55 | 140713.8045 |  | 0.90073 | 9.927
Condition-4 |  |  | 2.6 | 140425.6367 |  | 0.89889 | 10.1115
Distance between X-ray tube and sample holder: ABC cm |  |  | 2.65 | 140138.059 |  | 0.89704 | 10.2956
Distance between Minipix and sample holder: ABC cm |  |  | 2.7 | 139851.0703 |  | 0.89521 | 10.4793
Acquisition time of each frame: 0.01 |  |  | 2.75 | 139564.6692 |  | 0.89337 | 10.6626
Total time of measurement: 120sec |  |  | 2.8 | 139278.8547 |  | 0.89154 | 10.8456
Resolution: 2.5KeV |  |  | 2.85 | 138993.6255 |  | 0.88972 | 11.0281
Voltage and current of X-ray tube: 10KV & 5uA |  |  | 2.9 | 138708.9805 |  | 0.8879 | 11.2103
With XRF Correction |  |  | 2.95 | 138424.9183 |  | 0.88608 | 11.3922
|  |  | 3 | 138141.4379 |  | 0.88426 | 11.5736
|  |  | 3.05 | 137858.538 |  | 0.88245 | 11.7547
|  |  | 3.1 | 137576.2175 |  | 0.88065 | 11.9354
|  |  | 3.15 | 137294.4751 |  | 0.87884 | 12.1158
|  |  | 3.2 | 137013.3097 |  | 0.87704 | 12.2958
|  |  | 3.25 | 136732.7202 |  | 0.87525 | 12.4754
|  |  | 3.3 | 136452.7052 |  | 0.87345 | 12.6546
|  |  | 3.35 | 136173.2637 |  | 0.87167 | 12.8335
|  |  | 3.4 | 135894.3944 |  | 0.86988 | 13.012
|  |  | 3.45 | 135616.0963 |  | 0.8681 | 13.1901
|  |  | 3.5 | 135338.368 |  | 0.86632 | 13.3679
|  |  | 3.55 | 135061.2086 |  | 0.86455 | 13.5453
|  |  | 3.6 | 134784.6167 |  | 0.86278 | 13.7224
|  |  | 3.65 | 134508.5913 |  | 0.86101 | 13.8991
|  |  | 3.7 | 134233.1311 |  | 0.85925 | 14.0754
|  |  | 3.75 | 133958.235 |  | 0.85749 | 14.2514
|  |  | 3.8 | 133683.9019 |  | 0.85573 | 14.427
|  |  | 3.85 | 133410.1307 |  | 0.85398 | 14.6022
|  |  | 3.9 | 133136.92 |  | 0.85223 | 14.7771
|  |  | 3.95 | 132864.2689 |  | 0.85048 | 14.9516
|  |  | 4 | 132592.1761 |  | 0.84874 | 15.1258
|  |  | 4.05 | 132320.6406 |  | 0.847 | 15.2996
|  |  | 4.1 | 132049.6611 |  | 0.84527 | 15.4731
|  |  | 4.15 | 131779.2366 |  | 0.84354 | 15.6462
|  |  | 4.2 | 131509.3659 |  | 0.84181 | 15.8189
|  |  | 4.25 | 131240.0478 |  | 0.84009 | 15.9913
|  |  | 4.3 | 130971.2813 |  | 0.83837 | 16.1634
|  |  | 4.35 | 130703.0652 |  | 0.83665 | 16.335
Condition-5 |  |  | 4.4 | 130435.3984 |  | 0.83494 | 16.5064
Distance between X-ray tube and sample holder: ABC cm |  |  | 4.45 | 130168.2797 |  | 0.83323 | 16.6774
Distance between Minipix and sample holder: ABC cm |  |  | 4.5 | 129901.7081 |  | 0.83152 | 16.848
Acquisition time of each frame: 0.01 |  |  | 4.55 | 129635.6823 |  | 0.82982 | 17.0183
Total time of measurement: 300sec |  |  | 4.6 | 129370.2014 |  | 0.82812 | 17.1882
Resolution: 2.5KeV |  |  | 4.65 | 129105.2641 |  | 0.82642 | 17.3578
Voltage and current of X-ray tube: 10KV & 5uA |  |  | 4.7 | 128840.8694 |  | 0.82473 | 17.5271
With XRF Correction |  |  | 4.75 | 128577.0162 |  | 0.82304 | 17.696
|  |  | 4.8 | 128313.7033 |  | 0.82135 | 17.8645
|  |  | 4.85 | 128050.9296 |  | 0.81967 | 18.0327
|  |  | 4.9 | 127788.6941 |  | 0.81799 | 18.2006
|  |  | 4.95 | 127526.9956 |  | 0.81632 | 18.3681
|  |  | 5 | 127265.8331 |  | 0.81465 | 18.5353
Condition-5
Distance between X-ray tube and sample holder: ABC cm
Distance between Minipix and sample holder: ABC cm
Acquisition time of each frame: 0.01
Total time of measurement: 600s
Resolution: 2.5KeV
Voltage and current of X-ray tube: 10KV & 5uA